[image: image6.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image6.png]
Contact Bounce of a Mechanical Switch


By: Walter Banzhaf

P.E. Professor of Engineering Technology

University of Hartford


Ward College of Technology

Abstract:

Electrical switches which use mechanical contacts to close and open a circuit are subject to a bouncing of the contacts. The average user of a flashlight is blissfully unaware that the current actually gets turned on and off dozens of times each time the flashlight is turned on or off, since the human eye (and the tungsten filament of the bulb) cannot respond to the short duration interruptions of current. However, this phenomenon is well known to circuit designers who work with push buttons, keyboards, toggle or slide switches by the havoc that can be caused by not dealing with it. While the results of contact bounce are apparent, and the circuitry or software solutions are generally known, many people have not actually seen the electrical signature of a particular switch's bouncing. The single-shot display capability of the Agilent 54601A digitizing oscilloscope allows us easily to record and measure the bouncing of a switch.

Equipment:

· Agilent 54600 - Series Oscilloscope 

Circuit Explanation:

The circuit below is that of a flashlight, with the resistor representing the bulb. By putting the oscilloscope in single-shot mode, and by triggering on the rise of voltage at the top of the resistor, the entire sequence of contact bounces can be seen.

    [image: image1.png]CHANNEL 1

— 5V 510





Procedure A - Determining Contact Bounce During Switch Closure:

1)  Return the oscilloscope to its default settings by pressing the SETUP hardkey, and then the DEFAULT SETUP softkey. Put the switch into the open position.

2)  Connect channel 1 to the top of the resistor using a 10X probe. Be sure to make the probe setting correct (10X) by using the PROBE softkey for channel 1 (press 1 to select channel 1, and then press the PROBE softkey as needed to toggle between a divide by 1 or 10 or 100 probe).
3)  Set the Volts/Div control for channel 1 to 1 V/Div. Press the trigger mode hardkey, and then the normal trigger mode softkey. Set the trigger level control for something more than 0 V and less than 5 V (e.g. 1 V). The trigger slope is positive (this is the default slope).

4)  Flip the switch from off to on repeatedly. Each time the switch is moved, the sweep of the oscilloscope should be triggered and a new trace recorded  (you may want to think about why switching to off, even though the trigger slope is positive, causes triggering to occur).
If more than one trigger occurs for a single movement of the switch, choose the trigger mode hardkey, and then the single trigger mode softkey. You will have to press the Run hardkey after each trigger to "arm" the sweep.

5)  Adjust the Time/Div control on the front panel for a display that shows the initial switch from 0 V to 5 V, and all of the bounces, until steady state  (constant 5 V) is reached (see Figure 1 for a typical display).

6)  Press the Stop hardkey, and then press the Display hardkey followed by the Vectors On softkey. Notice that Vectors On essentially "connects the dots", allowing transitions between the two voltage levels to be seen more clearly.

7)  Measure the time required for switch bounce to end, and the approximate number of bounces, for a gentle movement of the switch from OFF to ON. Repeat for a rather vigorous "flick" of the switch.

[image: image2.png]Measurement of Switch Bounce, Going from OFF to ON

Type of Bounce

Bounce Time

Approx. # of Bounces

Gentle

Vigorous "Flick"





Procedure B - Determining Contact Bounce During Switch Opening:
1)  Keep everything as it was in procedure A, except change the trigger slope to negative.

2)  Measure the time required for switch bounce to end, and the approximate number of bounces, for a gentle movement of the switch from ON to OFF. Repeat for a rather vigorous "flick" of the switch.

[image: image3.png]Measurement of Switch Bounce, Going from ON to OFF

Type of Bounce

Bounce Time

Approx. # of Bounces

Gentle

Vigorous "Flick"





If time permits, try using the other switch on your op-amp designer board. Though it is an "identical" switch, its bounce performance is likely to be quite different (see Figure 2).

Try a different kind of switch (toggle, or push-button) to see what its bounciness is.

[image: image4.png]oov <0.00s 500¢/ Sngl 4 1 STOP

—_
-
-
-
v
s
-
-

1

RN R N S SRR LR | RN R R E R R

1FI-

1/At = 292 .4 Hz

=+
—
1l
)
S
)
o
7))
o+
(\V)
1l
w
=~
DN
S
n
>
o+
1l
w
N
DO
5
»




Figure 1- Switch bounce (going from off to on)
[image: image5.png]11.00V

At = 1.970ms 1/At = 507.6 Hz





Figure 2 – Switch Bounce for Two “Identical” Switches

� EMBED Word.Picture.8  ���








[image: image7.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








