[image: image5.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image5.png]
Observing & Measuring The In-rush Current Of A Tungsten Lamp, or,
Why Bulbs Burn Out When They Are Turned On

By:   Walter Banzhaf, P.E.


Professor of Engineering Technology


University of Hartford


Ward College of Technology

Purpose:
Tungsten is the metal used to make the filament in vacuum tubes and lamps for illumination (e.g. a 60 W Edison-base bulb).  Tungsten (Wolframite) is not as good a conductor as copper (RHOW/RHOCu = 3.25), and has the highest melting point of all common metals (3370 °C).  Thus, it is able to glow white hot for extended periods without melting.  Due to the huge change in temperature of a tungsten filament when it is (abruptly?) switched on, there is a substantial increase in its resistance when it is white hot (tungsten, like most metals, has a positive temperature coefficient of resistance). 

This results in a cold filament having a much lower resistance, and a high inrush of current at the moment of turn-on. In fact, manufacturers of 120VAC electrical switches rate them lower in amperage when they are used for turning on tungsten lamps. In this experiment, we will measure the peak current at time of turn-on, using the single-shot display capability of the Agilent -54601A digitizing oscilloscope. In addition, the X-Y mode will be used to make a Volt-Ampere graph (I vs. V), showing the increase in resistance and decrease in current as the bulb goes from a cold start to glowing white-hot.

Equipment Required:

• Agilent 54600 - Series Oscilloscope


Circuit Explanation:

The circuit below has a 10 ohm current-sensing resistor in series with the bulb.  By putting the oscilloscope in single-shot mode, and by triggering on the rise of voltage on Channel 1, the voltage across the circuit (bulb + resistor) and the sensing resistor voltage alone (which is proportional to bulb current) can be captured when the switch is first thrown.

[image: image1.wmf]

To make the graph of I vs. V, the oscilloscope is put in X-Y mode.  Channel 1 is connected to the supply voltage and becomes the X-axis, while the Channel 2 voltage is the circuit current (multiplied by 10 ohm) and becomes the Y-axis.

Procedure A - Observing And Measuring Lamp In-rush Current At Turn-on:
1)
Return the oscilloscope to its default settings by pressing the SETUP hardkey, and then the DEFAULT SETUP softkey.  Put the SPST switch into the open position.  The power supply ON button should be in (which is the on position), the 0 to +20 V supply should be set for maximum, and the current limit knob should be set for maximum (fully clockwise, Imax (or approximately equal to) 450 mA).

2)
Connect Channel 1 and Channel 2 as indicated in the schematic, using 10X probes.  Be sure to make the probe setting correct (10X) by using the PROBE softkey for Channels 1 & 2 (press 1 to select channel 1, and then press the PROBE softkey as needed to toggle between a divide by 1 or 10 or 100 probe).
3)
Set the Volts/Div control for channel 1 to 10 V/Div.  Press the trigger mode hardkey, and then the normal trigger mode softkey.  Set the trigger level control for something more than 0 V and less than 20 V (e.g. 10 V).  The trigger slope is positive (this is the default slope).  Adjust the Time/Div control on the front panel for 10 ms/div.  Press the Main/Delayed hardkey, and the Time Ref softkey to make the reference time be at the left.

4)
Firmly slide the SPST switch to its ON position.  The sweep of the oscilloscope should be triggered once, and a new trace recorded (see Figure 2 for a typical display).  Adjust the position controls for Channels 1 & 2 to separate the traces.  If more than one trigger occurs for a single press of the ON button, choose the trigger mode hardkey, and then the single trigger mode softkey.  You will have to press the Run hardkey after each trigger to “arm” the sweep.

5)
Press the Stop hardkey, and then press the Display hardkey followed by the Vectors On softkey.  Notice that Vectors On essentially “connects the dots”, giving a better display of the traces for Channels 1 and 2.  Notable is the “droop” of the supply voltage (Channel 1), due to the instantaneous current demanded by the bulb exceeding the maximum power supply current limit value.  Notice that as the bulb warms up, and its resistance increases, its current drops (Channel 2) and supply voltage returns to + 20 V.

6) Measure the approximate time required for this lamp to reach steady-state.  From the frozen display, measure the supply voltage and the sensing resistor voltage at two different times: the instant current begins to flow, and in steady-state.  Record these values in the table below, and calculate the bulb resistance at these two times.

[image: image2.wmf]
7)
If you want to have some insight into why lamps generally burn out at the instant they are turned on, compute the instantaneous lamp power = I2(Rbulb) at turn-on and in steady-state.

Procedure B - Making & Analyzing A Graph Of Lamp Current Vs. Lamp Voltage:
1)
Keep the circuit and the probe locations as they were in procedure A.  Turn down the supply voltage to 0 V.  Change the oscilloscope settings as follows:


Channel 1 V/Div to 2V (X-axis)
Channel 2 V/Div to 500 mV (Y-axis)


Horizontal Mode to XY
Channel 1 & 2 position to make a dot in lower left corner (0 A, V)

2) 
Slowly raise the supply voltage from 0 V to +20 V.  Note that the dot moves upward and to the right.  Slowly lower the supply voltage back to 0 V.

3)
Now press the Auto-store hardkey and repeat step 2.  Now the dot leaves a line stored behind it.  Slowly lower the supply voltage back to 0 V.  Press the Erase hardkey.

4)
Press the power supply ON button, to turn it off.  Turn the supply voltage knob fully clockwise (maximum, (or approximately equal to)20 V).  Press the power supply ON button, to turn it on.  Now, slowly reduce the supply voltage to 0 V.  The display should look like   Figure 3.  You can see that the bulb current (Y-axis) climbed rapidly, then dropped off to its steady-state value.  As the supply voltage was reduced, the bulb current decreased, but the slope increased (the slope is the conductance, I/V, of the lamp).  A colder lamp has more conductance = less resistance.

[image: image3.wmf]
[image: image4.wmf]
� EMBED Word.Picture.8  ���








[image: image6.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








