[image: image5.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image5.png]​

FFT Laboratory Experiment 4
A Sum of Sinusoids

By:  Michael W. Thompson, PhD. EE

Dept. of Electrical Engineering

Colorado State University

Fort Collins,  CO
Purpose:

This experiment illustrates how the FFT can be used to analyze the spectral content of a signal which consists of a sum of two sinusoids.  A similar analysis using time-domain techniques can be difficult to perform on an oscilloscope.

Procedure:

1.
Use two signal sources4 and a resistor to construct the circuit shown in Figure 5.1.  Alternatively, use an Agilent33120A Function/Arb Generator to create the required waveform.

2.
Use the oscilloscope to verify that the v1 and v2 waveforms have the proper amplitude and frequency settings.

3.
Use Autoscale to obtain a time-domain display of the voltage across the resistor.  Since the voltage across the resistor is the sum of two sinusoids, and since the sinusoids have different fundamental frequencies, (which are not precisely harmonically related) the resulting time-domain display is unstable.  Using the Run and Stop controls, it is possible to take “snapshots” of the resulting oscilloscope traces.  This is illustrated in Figure 5.2.

4.
As described in previous experiments, turn on the FFT display and turn off the time domain display on channel 1. Use the settings shown in Figure 5.3 to display the spectral content of the input signal.  The Cursors controls can be used to accurately measure the frequency location of each sinusoid.  It is also interesting to observe the effect of altering the effective sampling rate.  Use the Time / Div control to slowly increase the sampling rate, allowing the FFT display to stabilize after each step increase.  Note that it becomes increasingly difficult to distinguish the two sinusoids as the sampling rate is increased.

5. Adjust the frequency of source v2 to 20 kHz.  Use Autoscale to display the time-domain waveform. The resulting time-domain display is not stable.

[image: image1.png]Agilent
54654A* O

Connected to

1kQ CH1 of Scope

Sine
Generator

*Second sine generator
must be battery-powered




Figure 5.1 

Circuit for Experiment 4. The voltage source v1(t) is a 3.5 V (peak-to-peak), 1 kHz sinusoid, and the voltage source v2(t) is initially set to be a 3.5 V (peak-to-peak), 2 kHz sinusoid.

[image: image2.png]



Figure 5.2


A time-domain display of the voltage across the resistor in Figure 5.1. This display was obtained by using the Run and Stop controls.

[image: image3.png]B e Rl 41 AL

T VEIE =0 000 dBV

aV(F2) = 0.000d6





Function2: Menu

Effective Sampling Rate
Units/div
Ref Level

10.00 kSa/s
10.00 dB
10.00 dBV

FFT Menu

Center Freq.
Freq. Span
Window

2.441 kHz
4.883 kHz
Hanning

Figure 5.3

The 1024 point DFT (Magnitude) of a signal which consists of a summation of two sinusoids.  Each sinusoid has a peak-to-peak voltage of 3.5 V. The fundamental frequencies of each sinusoid are nominally 1 kHz and 2 kHz, respectively.

[image: image4.png]£, 8.8kHz 97 7kHZ L1 AL
R e AL

R T TR





Function2: Menu

Effective Sampling Rate
Units/div
Ref Level

200 kSa/s
10.00 dB
10.00 dBV

FFT Menu

Center Freq.
Freq. Span
Window

48.83 kHz
97.66 kHz
Hanning

Figure 5.4


The 1024 point DFT (Magnitude) of a signal which consists of a summation of two sinusoids.  Each sinusoid has a peak-to-peak voltage of 3.5 V. The fundamental frequencies of each sinusoid are nominally 1 kHz and 20 kHz, respectively.

6.
Turn on the FFT display and turn off the time-domain display on channel 1. Use Figure 5.4 for assistance in adjusting the FFT menu settings.  In Figure 5.4, both frequency components are easily distinguished.

7.
Adjust the Freq.  Span and Cent.  Freq. settings from the FFT Menu to “zoom-in” on the 1 kHz component. Use the Cursors controls to measure the display width of the 1 kHz component.  At 31 dB down from the peak, the width is roughly 220 Hz.  Notice that when the Time / Div control is used to reduce the effective sampling rate to 20 kSa / s, the high frequency term aliases to a lower frequency which is near the 1 kHz term.

Questions

1.
How does the presence of a high frequency component affect the spectral resolution for analyzing narrowband components of the signal?

2.
Based on the results of this experiment, why would it be difficult to use the FFT module to analyze the bandwidth of a “typical” amplitude modulated signal?

Conclusions

1.
A stable time domain waveform is not required when using the Agilent 5465xA FFT module for performing a frequency domain analysis, as long as the time base sweep speed is slower than 50 ms/div. (see the Product Note 54600-4 for details).

2.
It can be difficult to resolve narrowband frequency components when the input signal contains high frequency components.  The effective sampling rate must be large in order to avoid aliasing, and thus, the resulting spectral resolution is poor.

4 The Agilent 54654A Training  Kit signal board can be used to generate the 1 kHz sinusoid. If two sources are used, one source must be floating, so scope ground does not short out or Interfere with signal. Alternatively, the Agilent33120A Function/Arb Generator can be programmed to generate a waveform equivalent to the sum of two sinusoids. This is accomplished using a PC and Agilent BenchLink/Arb software.

Answers to Questions

1. Because of the large sampling rate required to prevent the high frequency components from aliasing, the spectral resolution of a 1024 point DFT can be inadequate for analyzing narrowband frequency components.

2. Usually, the carrier frequency of an AM signal is much larger than the bandwidth of the modulating signal.  The spectral resolution problems, mentioned in the previous answer, make a bandwidth analysis difficult using a 1024 point DFT.

� EMBED Word.Picture.8  ���











[image: image6.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








