[image: image1.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image1.png]​

Virtual Lab 6: Magnitudes, Phases Everywhere!
By:  Steve Badelt and Daniel D. Stancil

Department of Electrical and Computer Engineering


Carnegie Mellon University


Pittsburgh, PA

Purpose:


•  Fast Fourier Transform


•  Selection controls, and Records in Agilent VEE


•  Completion of the spectrum analyzer

Equipment:

•  Agilent 34401A Multimeter
•  Agilent 54601A Oscilloscope with Agilent 54657A Measurement/Storage Module

•  Agilent 8116A Pulse/Function Generator or Agilent 33120A Function/Arb Generator

•  Agilent 6236B Triple-output Power Supply

•  Connectix Video Camera

•  Intel 100MHz Pentium computer, 32MB Ram with GPIB Card

•  HP VEE for Windows software, Version 3.2

•  Timbuktu (remote access) software

•  Text: Robert Helsel, “Graphical Programming: A Tutorial for HP VEE”, Hall, 1995


•  Download Agilent VEE executable files

Introduction:

Fast Fourier Transform

In general, we can construct any repetitive waveform by adding an appropriately-weighted sum of sinusoids:




(1)

where T is the period  of the waveform. This is called a Fourier Series. The coefficients can be obtained from




(2)

As an example, consider a square wave that has the magnitude 1V between t=0 and t=T/2, and is zero between t=T/2 and t=T.

[image: image2.wmf]
A straightforward calculation gives





(3)

The first few coefficients are:



m




0
1/2

1
-j/π

2
0

3
-j/(3π)

4
0

5
-j/(5π)

In the case of data we take off the digital scope, we don't have a continuous function; instead we have discrete samples of a continuous waveform. In other words, we only know the values of f(t) at discrete, uniformly-spaced time intervals: 




(4)


The Discrete Fourier Transform (DFT) is an adaptation of (2) for discrete time data, and yields the complex amplitudes of the frequency components that are harmonics of 1/T. A particularly efficient way of calculating a DFT was discovered several decades ago by Cooley and Tukey, and is called the Fast Fourier Transform, or FFT. The FFT has the restriction that N must be a power of 2; i.e., N=2m. Both the digital scope and Agilent VEE have built-in FFT functions that work like this:

The scope gives the magnitude only of the frequency components in dBV, where the reference is 1 V rms (i.e., Yn = dBVn). The conversion to the coefficients in (2) is given by:





(5)

In the FFT mode, the scope always uses N=1024.

Agilent VEE gives the complex amplitudes, but the FFT is defined differently from above. If the Agilent VEE output array is Ym, the conversion to the coefficients in (2) is given by:





 EMBED Equation.2  

(6)

In addition, N is apparently not limited to a power of 2 in Agilent VEE, although the documentation does not indicate what algorithm is used. 

You may have noticed that we only get 1 more than half the number of frequencies out than time samples in. This is the result of a fundamental principle called the Nyquist Theorem. According to this theorem, you need at least 2 points per period to uniquely define the frequency of a sinusoidal component. Hence with N points in, we get N/2 frequencies out plus DC (corresponding to 1+N/2 points.) Aliasing is a form of distortion that arises if you don't sample enough to satisfy this theorem at the highest frequency contained in the signal. If you don't know what the spectrum looks like before hand, how do you know if you have taken enough points? Generally you can tell by looking at the last few elements of Y. If these have negligible magnitudes compared to max(Yk), then you are probably ok.

Another potential source of error is called spectral leakage. The FFT assumes the time signal is perfectly periodic with period T. If T does not contain an integral number of cycles of the waveform, a discontinuity is produced causing an error in the spectrum. The simple way to avoid this error is to always make sure an integral number of cycles are included in the time period T. Other techniques for minimizing this error involve using "windowing" functions to make sure the sampled signal goes smoothly to zero at the beginning and end of the sampled time period. A detailed discussion of these windows is beyond the scope of this lab. Suffice it to say that we will use the Hanning window in our scope experiments.

Selection Controls:

Radio Buttons, Cyclic Buttons (that change their label as you depress them), and Pop-up lists all allow the user to select an option from a list of possibilities.  A selection control outputs the label that is chosen.  If  “Go to bed.” is one of the options on the list, then “Go to bed.” is the string output of the selection control.  However, there is an accompanying number with each string output that may be obtained using the Math(Real Parts(Ordinal(x) function.  This will extract a number indicating the order of the selection on the list.

Records:

A record is a conglomeration of data stored in fields.  Each field can contain data of any type, but only of one type, and even another record.  Multiple fields may exist within a single record.  If you have had C programming experience, you are no stranger to records (data structures), and the Agilent VEE record is no different.

Procedure:

Part 1:  Scope Practice

1. Set the function generator to generate a square wave with 50% duty cycle, frequency of 1 kHz, a 0.5 V amplitude, and an offset of 0.5 V. Examine this waveform on Ch 1 of the oscilloscope and verify that it is a square wave with max value of 1 V and minimum value of 0 V (similar to the example above). Note: the function generator settings are calibrated for driving a 50 ohm load; since the scope has a high-impedance input, you will have to compensate for this to obtain the desired waveform! 
[If you’re using an Agilent 33120A, go to System Menu and set output term to HI-Z.]

2. Set the time base on the scope so that exactly five periods are shown on the screen.

3. Press ±, then turn on Function 2 to enable the math function 2.

4. Press the Function 2 Menu softkey.

5. Select Channel 1 using the Operand softkey.

6. Select FFT using the Operation softkey. This simultaneously diplays the time and frequency waveforms.

7. To turn off the display of channel 1 time waveform and "connect the dots" on the spectrum, press the channel 1 key and turn the channel off.

8. Experiment with the Ref Levl and Units/div softkeys until you understand what they do.

9. Press the FFT Menu softkey, and experiment with the Cent Freq, Freq Span, and 
Move 0Hz to Left functions. Additional information can be obtained from "Agilent 54657A and Agilent 54658A Measurement/Storage Modules User's Guide," pp. 28-33.

10. Using the scope cursers, measure the amplitudes of the DC level and first five harmonics, and compare with the calculation in the first part of this lab.

11. Save scope screens showing the time waveform and the corresponding spectrum of your square wave.

Part  2: Agilent VEE Practice

1. Select Data(Selection Control(Drop Down List.  From the control’s object menu choose Edit Enum Values.  Within that list enter the options  "DC", "Sine", "Triangle", and "Square.” The number (Enum Value) corresponding to each word should match its waveform selection number as in Lab 5.  

2. Wire up a Math(Real Parts(Ordinal(x) object between the selection control and the Waveform input of your Lab 5 object.  Choosing Sine from your list should now output “001:Sine” to the ordinal function, which will return 1 to your function (the appropriate number to tell the function generator to produce a sine output).

3. To each Wave output (from scope channels 1 and 2) wire up an AdvMath(
Signal Processing(fft(x) object.  To each of these wire a Math(
Complex Parts(mag(x) object.  To compare with our calculation, we also need to divide this result by N. Use AdvMath(Array(totSize(x) to accomplish this. We have now effectively taken the FFT and magnitude of that frequency distribution.  Apply yet another function (using a formula object), 20*Log10(x), to this output (to get a reading in dB).  Notice there is an option within that same menu to obtain the phase.

4. Choose an XYTrace object and add another input to accommodate the second channel.  Wire the channel waveforms to the inputs. Also add a control input for the Traces.

5. To input the appropriate data to the XYTrace Traces control, we will need to create a record constant.  Select Data(Constant(Record.  From its object menu, create fields (labeled appropriately) for “TraceNum”, “Name”, “Pen”, “LineType”, and “PointType”. All fields except the Name field should be integers (Int32).  The Name field should be of type Text.  To set these, just press the button for the appropriate field.   Since we have two channels to label, we must create an array of such records two deep.  In the Edit Properties dialog, Configure for a 1D Array, and a Size of 2. Fill in the field values for each channel (Use the Next and Prev buttons).  You will need to experiment, but you can get hints by looking at the Traces options in the Waveform graph’s Edit Properties(Traces dialog.

6. Wire your constant to the waveform graph.  Try running your program at different frequencies.  The x-axis frequency scaling should be taken care of by the Agilent VEE. Save your program as lab6pt2.vee.

Part  3: Assignment

Create a function that will display the phase, magnitude, or waveform from channel 1. Begin by constructing a flow chart for your program. The program should label the graph appropriately!  To do this you need to know that the Title input is text, not in any sort of record format.  The Scales control input is a record of two text fields.  The first one is “Scale” (X or Y).  The second field is “Name” (the label for that scale... Magnitude, Frequency, Seconds, etc. ). Combine your function with the function generator control/waveform capture function from lab5pt2.vee to complete a spectrum analyzer. Also, wire up a Start button to the beginning of your program thread.  Once you have a working program, add all the controls and the graph to the front panel and design a clean user interface. Save your program as lab6pt3.vee.

You  should be able to:


•  Show stored scope screens for time domain and FFT measurements.


•  Compare scope FFT values to calculations.


•  Demonstrate your two-channel XYplot function lab6pt2.vee.


•  Demonstrate your spectrum analyzer program lab6pt3.vee. Checklist:

1. Show flowchart

2. Be able to select amplitudes, phases, or waveforms

3. Graphs should be labeled correctly for the different plots

4. Show that magnitudes and phases agree with calculations.

� EMBED Word.Picture.8  ���








0





T





T/2





t





1V





Array of 1+N/2 elements corresponding to the complex amplitudes of the frequency components


� EMBED Equation.2  ���





Array of 2m elements corresponding to measurements of f(t) at time intervals


� EMBED Equation.2  ���


where N=2m.





Y





 X





fft(x)











_936776311.unknown

_936776313.unknown

_936776689.unknown

_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








_936776781.unknown

_936776314.unknown

_936776312.unknown

_936775876.unknown

_936776308.unknown

_936776309.unknown

_936776307.unknown

_936775874.unknown

