[image: image3.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image3.png]​ 
Finding the “Hidden” Pulse Stream

By:  Agilent Technologies 

Purpose:

In this hands-on exercise, you will learn how to use the oscilloscope's Peak Detect acquisition mode to capture and view narrow pulses, while still viewing waveform activity on slow timebase ranges.

Equipment: 

· Agilent 54520-Series Oscilloscope 

· Agilent 54720-66506 Application Training Board 

1.
Connect channel 1 to TP6 and ground to TP10 on the Agilent 54720-66506 ApplicationTraining Board.


a. Close switch #2 and #4 on S1. All other switches should be open.


b. Set VAR LFCK fully CCW

2.
Load the scope setup from the disk file.


a. Press the [blue shift key] and then press [Disk].


b. Select the load scope soft key and then select SET.


c. Turn the general entry knob to select setup from file [LAB 1A.SET].


d. Press execute.

3.
Adjust the vertical sensitivity, position,and trigger level for a properly scaled and triggered display.

What is the sample rate at the current timebase setting (sample rateis displayed in the HORIZONTAL setup menu)?

[image: image1.png]Agilent running

1,
i

e AR LR s e e Al RRAR

- | - persistence

- ;‘infinite

. -| - # of screens

- EL_ N

E E off frame
S|\ axes grid

= «| ~connect dots

- A o |

" 1 i I i i o

|

+width (1) 2670 ns




4. Using the automatic measurements, measure the width of this pulse:_______

5. While observing the display, change the timebase to 500 us/div. What happens to the display of this  narrow pulse as you slow down the timebase? _____________

6. Select the HORIZONTAL setup menu and note the sample rate: _______________

7. What are the statistical odds of capturing a pulse this narrow atthis sample rate on any random  acquisition cycle?  (Hint: Pulse Width/SampleInterval) _______________

8. Select the Peak Detect mode in the [Display] menu. What are the odds of capturing the narrow repetitive pulses using1 nanosecond peak detection? __________

[image: image2.png]VISFLAY
noem

R e |\ peak detect

Agilent running

persistence
infinite

# of screens
(=)

ML

- el connect dots
: (" e )
T TTTT TYT PUUIY PUTIT TR FUTTE FRPPR P PR
-500.00 us 0000 S 500.00 us

100 usidiv realtime

1 500 mv/




� EMBED Word.Picture.8  ���








[image: image4.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








