[image: image7.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image7.png]​


[image: image1.wmf]Experiments in Gaussian White-noise Generation

By:  Zsolt Papay

 Tech University of Budapest (TUB)

 Dept of Telecommunications

 Budapest, Hungary

Purpose:

To study numerical signal synthesis and analysis in practice.

Description:

Linking software files between Agilent’s BenchLink and Mathcad1 can result in a very powerful analysis/synthesis technique.  This experiment will examine the use of Mathcad to create band-limited white noise, which is then loaded into the arbitrary waveform generator via Agilent BenchLink software.  

Equipment:

· Agilent 33120A Function/ARB generator

· Agilent 54600-series oscilloscope with FFT (and GPIB) option

· Personal computer with GPIB card & cables

· Agilent 34820A BenchLink/Suite Software (Consists of Agilent 34810B BenchLink/Scope + Agilent 34811A BenchLink/Arb +Agilent 34812A BenchLink/Meter) 

· Mathcad ®  (MathSoft Inc.) Software

Procedure (see Fig 1):

It is possible to analyze the performance of a DUT (Device Under Test) by examining its response to well-designed test signals. In this case, we will generate a waveform with a signal buried in noise. This is a frequent occurrence in real life, and it makes for an interesting study to see how an FFT can extract the signal from the combined set of (signal+noise). Digital synthesis and analysis techniques are the powerful tools that make it possible (Fig. 1):

1) create a waveform numerically by using Mathcad1 software. 

2) Transfer that waveform in a file to the Agilent 34811A BenchLink/Arb Software 

3) Download the waveform to the Agilent 33120A Function/ARBitrary Waveform Generator and  generate the signal. 

4) measure the system response using the Agilent 54602B Digitizing Storage Oscilloscope with a plug-on Agilent 54657A (FFT/GPIB) Measurement/Storage Module, and capture the screen data with Agilent 34810B BenchLink/Scope software. 

1 [Note: Mathcad is a trademark of Mathsoft Corporation.]


[image: image2.wmf]
Fig. 1: Setup of experiment

Experiment:

Part I:  Synthesize the Gaussian noise with Mathcad:

Synthesize nearly Gaussian noise with flat (band-limited white) spectrum by means of phase spectrum randomizing in the frequency domain.    (Reference:   K. Kafadar, “Gaussian White-noise Generation for Digital Signal Synthesis” IEEE Trans on Instr and Meas, Vol. IM-35, No. 4, Dec. 1986, 492-495.)  Then transform into time domain with the inverse FFT.  (See Fig 2)

[image: image3.png]Gaussian White-noise synthesized in frequency domain,
and transformed into time domain

1
p:=13 n:=0.210 z =0 m=0.2"-1 wm::E
k:=0.2°"! : B := stack(z,w)

constant (bandlimited) magnitude vector: o = stack(P,z)
random (uniform noise) phase vector: ¢, = md(2-m) j= JI
FOURIER components (in frequency domain): G = otk-eNk
inverz FFT: x:=IFFT(c) u = last(x) i=0.u P=u+l P =8192
HI = max(x) LO = min(x) stdev(x) =32

"noise"™ (in time domain): norm := if(HI>|LO| ,HI, |LO|)

X,
N, = ! hi .= max(N) low = min(N) avg = mean(N). o = stdgv(N)
norm hi =0.9 low =-1 avg =0 =02
Noise amplitude histogram:
1 2
l V = 256 h=0.V valh1:—1+m-h
v
f:= hist(val,N) s:=0..V-1
R °
nearly Gauss
!
£ 100
S
Il
-1
0 5000  1-10%
i 0
zoom
1 : vals
amplitude spectrum:
N, cl := FFT(N) M = last(cl) M =4096
- ) » N
dB, = 20-log<J£~ Iclk] +10 ) dB, 95 =-45.9
- | bandlimited White
1g 160 200 ~30 ; | ;
i 35 1025 3012 7
40— i ! -

Waveform ["*.PRN" file]:

WRITEPRN( *) =N




Fig. 2: Mathcad creates “noise” waveform (N, “*.PRN” file) with 8K sample points and analyzes amplitude distribution (histogram)

Part Ia: The real measurement
Now let’s transform the simulation into real noise.  Import the Mathcad “*.PRN” file with BenchLink/ARB, download it into the Agilent 33120A Function/Arb Gen. and generate the noise waveform at 10.1 Hz base frequency.  Then measure the spectrum of the noise using the Agilent 54602B DSO.  (See Fig 3 example.)


[image: image4.wmf]
Fig. 3:  Import, download and generate waveform at 10.1 Hz base frequency,

and measure spectrum

Part II: Combine  (signal + noise):

Generate sinusoidal signal + flat noise with predetermined signal-to-noise ratio (SNR).

[image: image5.png]Sinusoidal SIGNAL + Gaussian White-NOISE
(continued from Fig.4}

zd)

signal frequency
SNR [in-band]:

signal amplitude: A= ﬁ-c-lo 20 A=07 F .= 1995

SNR [in dB]: SNR:=7

"signal+noise" waveform:

F
S, = A-cos (2'n'§‘i> N Up := max(S) Lo := min(S)
nor = if(Up>|Lo| ,Up, |Lo|)

Si
Si";: — spectrum:
7 nor
o o -4
2 =FFT(S) dB, = 20-1og<ﬁ~]c2k\ +10 )
SIGNAL+NOISE (zoom)
I 0 I
S.
1
—0
-1 I
0 50 100
! k
Waveform ["*.PRN" filel: dBF =103
dB; , =-50.1

WRITEPRN( * ) :=S F




Fig. 4: Create “signal + noise” waveform (S, “*.PRN” file)

with SNR = 7 dB and 8K sample points
Part IIa: Add the signal to the noise for a real measurement

Import the Mathcad “*.PRN” file from Fig 4 with BenchLink/ARB, download it into the Agilent 33120A Function/Arb Gen. and generate the combined (signal plus noise) waveform at 10.1 Hz base frequency.  (Remember, the Arb treats the entire downloaded waveform as a single cycle, so when the Agilent 33120A Arb’s frequency is set to 10.1 Hz, it is repeating everything in the Mathcad waveform window 10.1 times per second.) Then measure the spectrum of the (signal+noise) using the Agilent 54602B Oscilloscope.  (See Fig 5 example.)  


[image: image6.wmf]
Fig. 5: Generate waveform at 10.1 Hz base arb. frequency,

and measure the spectrum of live “signal + noise”
Exercise: Compare the simulated and directly measured spectra

� EMBED Word.Picture.8  ���











[image: image8.wmf]


_1029850263.unknown

_1029852596.doc
[image: image1.bmp]

numerical







synthesis







Mathcad







waveform







Agilent 34811A







ARB gen







DSO/FFT







record







Agilent 34810B







Agilent 33120A







Agilent 54602B







DUT







GPIB







GPIB







" *.PRN "  File import







   with  54657A







replay







excitation signal







(waveform)







(FFT)







download 







waveform







BenchLink/Arb







BenchLink/Scope







1







2







3







5







4







upload 







waveform












_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








_940834176

_940834174

