[image: image2.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image2.png]​

Detecting Power-up Transients

By:  Agilent Technologies 

Purpose:

In this hands-on exercise, you will use Peak Detect to capture single-shot transients during a power supply's power-up cycle.

Equipment: 

· Agilent 54520-Series Oscilloscope 

· Agilent 54720-66506 Application Training Board 

1. Connect channel 1 to TP3 and ground to TP10 on the Agilent 54720-66506 Application Training Board.

2. Load the scope setup from the disk file.


a. Press the [blue shift key] and then press [Disk].

b. Select the load scope soft key and then select SET.


c. Turn the general entry knob to select setup from file [LAB1B.SET].


d. Press execute.

3. Press the [Stop/Single] key (display should read "stopped"in the upper left corner of screen).

4. Execute the following sequence of instructions:

a) Disconnect the power cord from the demo board.

b) Press [Clear display].
c) Press [Stop/Single] to setup a single acquisition upon trigger(display should read "running-awaiting trigger" in the upper left corner of screen).

d) Rub your feet on the floor to collect some static electricity. (Note: This may not work too well in a humid climate.)

e) Re-connect the power cord.

[image: image1.png]



5. Observe the entire power-up cycle of this power supply by changing the HORIZONTAL TIMEBASE setting to compress more of the scope's acquisition memory on screen. Did the scope capture any power-up transients? _____________

6. Return the timebase setting to 2 ms/div.

7. Press the [Display] menu key and select peak detect.

8. Repeat steps #4 & #5. What differences do you observe with the peak detect mode engaged? 

� EMBED Word.Picture.8  ���











[image: image3.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








