[image: image2.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image2.png]​

Capturing “Buried” High-speed Glitches

By:  Agilent  Technologies 

Purpose:

In this hands-on exercise, you will use Glitch Trigger to isolate and capture a

single-shot glitch that is "buried" within a complex digital pulse stream.

Equipment: 

· Agilent 54520-Series Oscilloscope

· Agilent 54720-66506 Application Training board 

1. Connect channel 1 to J2 on the Agilent 54720-66506 Application Training Board using a 50 (Ohm) BNC cable. Close switch #2 and #4 on S1. All other switches should be open.

2. Load the scope setup from the disk file.


a. Press the [blue shift key] and then press [Disk].

b. Select the load scope soft key and then select SET.


c. Turn the general entry knob to select setup from file [LAB1C.SET].


d. Press execute.

3. Press the Single-shot/Glitch button on the demo board several times. Each time you press this button, a narrow negative glitch will be injected into the pulse stream that you are observing on screen.


Do you ever see the glitch? _______________


Why or why not? ___________________________________

4. Make the following setup changes in the TRIGGER setup menu:


a. Mode = glitch


b. Source = channel 1 - LOW


c. Level = center


d. Qualification = when present <


e. Width = 5 ns

5. Press the "Single-shot/Glitch" button on the demo board.


Do you capture the glitch this time? _________


Why or why not? 

                [image: image1.png]GLITCH TRIGGER
LLrigd QRN

Tuningaweiting trigger

E edge patt state
Gelay tv
- soute —sfate -
| = |
P e ]

|| beve}-130.000 m¥
“|f When present

¢ width
[

. alti
200 nskdiv altice o Mg

1 mpen





� EMBED Word.Picture.8  ���











[image: image3.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








