[image: image2.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image2.png]​

Observing Power-Up Circuit Dynamics

By:  Agilent Technologies 

Purpose:

In this hands-on exercise, you will use the Sequential Single-shot sampling mode to observe circuit dynamics during a power-up cycle.

Equipment: 

· Agilent 54520-Series Oscilloscope 

· Agilent 54720-66506 ApplicationTraining Board 

1. Using a 10:1 scope probe, connect channel 1 to TP2 (system clock) on the DDT demo board. Connect the probe's ground clip to one the test points labeled "G#".

2. Load the scope setup from the disk file.


a. Press the [blue shift key] and then press [Disk].

b. Select the load scope soft key and then select SET.


c. Turn the general entry knob to select setup from file [LAB3B.SET].

d. Press execute.

3. Disconnect the power cord from the demo board.

4. Press the TIMEBASE menu key and then select sequential to on to capture 100 segments of 500 points each.

[image: image1.png]stopped DISPLAY

TN
I8

g ()

(% ]

000 55 TG 00
500 e e

10w

2000 v





5. Press the [Run] key and then re-connect the power cord to the demo board.

6. Press the [Display] menu key then rotate the general entry knob to observe the dynamics of the system clock during the power-up cycle.

� EMBED Word.Picture.8  ���











[image: image3.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








