[image: image4.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image4.png]​

Measuring Precise Timing Delays

By:  Agilent Technologies 

Purpose:

In this hands-on exercise, you will observe the effects of a digitizing scope's sample rate on the accuracy and resolution of precise high-speed timing measurements.

Equipment: 

· Agilent 54520-Series Oscilloscope 

· Agilent 54520-66506 Application Training Board

1. Using two 50W(Ohm) BNC cables, connect J4 and J5 of the Agilent 54720-66506 training board to CH1 and CH2 of the 54542A scope.


a. "Close" switch #2 on S1. All other switches should be open.


b. All switches on S3 should be open.

2. Load the scope setup from the disk file.


a. Press the [blue shift key] and then press [Disk].


b. Select the load scope soft key and then select Set.


c. Turn the general entry knob to select setup from file [LAB4.SET].

d. Press execute.

[image: image1.png]Toomr 2 DORY
Sy

arm c1me T

HORIZONTAL

Spryory
s

1

e

i

Lo

E

o

——

I

o
5 i

e cick





3. Press the [Autoscale] key.

4. Set the timebase at 1 ns/div with at 1.4 ns of delay.

5. Press the DISPLAY menu key and then select "infinite persistence" to show worst-case variation in the displayed waveform.

6. Using the automatic parametric measurements, select a D Time measurement from channel 1 to channel 2. (Press the [blue shift] key, [D Time] key, [1], and then [2].)

7. Press the [Define meas.] key and then select Statistics to ON. 

 What is the maximum variation in measurements?

(Hint: Max - Min) _____________ At 2 GSa/s, what is the approximate accuracy of these measurements?

(Hint: +/- 0.5 x [max - min] )___________

8. Press the HORIZONTAL [Setup] menu key and then select the adjust sample rate mode. Now rotate the general entry knob to select a sample rate of 1 GSa/s.

[image: image2.png]HORIZONTAL
3
P

]
T =

n

T 5wy
12300 10760
e L0 s a0
10 s e
PO ———
R e T

sampl cock.




9.  What is the approximate measurement accuracy at 1 GSa/s?

10. Change the timebase setting to 2 ns/div and then set the adjustable sample rate to 500 MSa/s. 

[image: image3.png]rasing HORIZONTAL

UG

L]

e

o G e

i
L]

2 A =

133000 1076087 oy

a0 0 o AT
200 oal e

e meien i g (o

srine Comi2y Te TR 2O a1 nx[ 1





11. What is the approximate measurement accuracy at 500 MSa/s?

12. Change the timebase setting to 5 ns/div and then set the adjustable sample rate to 250 MSa/s.

13. What is the approximate measurement accuracy at 250 MSa/s?

14. Is the oscilloscope's sample rate important for measuring precise single-shot waveform timing delays?

� EMBED Word.Picture.8  ���











[image: image5.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








