[image: image4.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image4.png]​

Active Versus Passive Probing

By:  Agilent Technologies 

Purpose:

Compare Active versus Passive probing. A probe's input capacitance (sometimes called tip capacitance) will slow down the system's pulse response. Usually the least input capacitance possible is best. In this lab, we'll compare the rise time and propagation delay effects of the passive (1 megohm/ 6.5pf) and the 1144A active (1 megohm/2pf) probes.

Note! Close switch #2 only of S1 on the Agilent 54720-66506 Demo board.

Equipment: 

· Agilent 54520-Series Oscilloscope 

· Agilent 54720-66506 Application Training Board 

1. Connect the 1144A probe to the channel 1 BNC of the scope and connect probe power to rear panel of scope.

a. Touch probe tip (without grabber) to pin 11 of U13 on Denali Demo board. Connect the ground alligator clip to TP10.

b. Press Recall and press Clr.

c. Select 50 ohm coupling and press Auto-scale.

d. Adjust Horizontal for 1 ns/div sweep speed.

e. Press Horizontal - Setup, then select the [repetitive] softkey.

f. Press Display and select [avg], then rotate the General Purpose Entry knob for 16 averages.

g. Press Wform save and select: nonvolatile [m1], source [1], and [store].

[image: image1.png]DiseLAY

using
e A
4 of s
| S
S E e
vy WD 100 oso e
1943 as

26998y




2. Connect the 10441A probe to the channel 2 BNC of the oscilloscope.

a. Connect probe tip without grabber to pin 11 of U13 on Agilent 54720-66506 Application Traning Board. Connect the ground alligator clip to TP18.

b. Press Auto-scale.

c. Adjust Horizontal for 1ns/div sweep speed.

d. Press Display and select [avg], then rotate the General Purpose Entry knob for 16 averages.

e. Hold the probe in place and move to step

[image: image2.png]using DisPLAY

e e
o
[

/ Lkl

T T FET
save 100 e e
2 sssow e

265,100




3. Now we'll compare both rising edges by turning on memory 1.

a. Press Wvform save.

b. Select the display on softkey.

c. Adjust Delay to overlap both waveforms at the start of their rising edges as shown in screen-shot.

d. Note the reduced rise time and increased propagation delay of the waveform using the passive probe.

e. Press the [blue shift key] then press rise, rotate the General Entry Knob for m# readout in inverse video on screen, then press 1.

f. Press the [blue shift key] then press rise, rotate the General Entry Knob for c# readout in inverse video on screen, then press 2.

[image: image3.png]



4. Note the rise time of the edges. ________________

5. Note the rise time of the edge. _________________

6. Why is the rise time of the passive probe slower? 

� EMBED Word.Picture.8  ���











[image: image5.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








