[image: image1.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image1.png]Arbitrary Waveform Generators 

By:
Richard LeBoeuf


Kansas State University


Department of Engineering Technology


Salina, KS

Purpose:


The objective of this experiment is to introduce the student to the capabilities of arbitrary waveform generators and remote operation via computers.
Equipment:


•
Agilent 54600B Oscilloscope


•
Agilent 33120A Function/ARB Generator


•
Agilent BenchLink/Suite Software

Arbitrary waveform generators permit the user to design and generate virtually any waveform in addition to the standard function generator signals (e.g. sine wave, square wave, etc.). 


In this laboratory exercise, we will explore the capabilities of the Agilent 33120A Function Generator/Arbitrary Waveform Generator.  This instrument has the capability of outputting sine, square, ramp, and sawtooth waveforms as well as arbitrary waveforms.  Several arbitrary waveforms have been built in to the instrument including the sinc function, a negative ramp, an exponential rise, an exponential fall, and a cardiac signal.  The waveforms can be modulated using amplitude, burst, frequency or frequency shift key modulation.  

Stand Alone Operation:
1.
Connect the output of the Agilent 33120A to the oscilloscope channel 1.

2.
To familiarize yourself with many of the features of the instrument, go through the tutorial outlined in Section 2 of the user manual.  Sketch the AM modulated waveform from the oscilloscope.  Use the single trigger mode on the oscilloscope if it is necessary to get a stable display.

3.
Press the blue Shift key followed by the Arb key to enter the arb list menu.  Use the > key to display the SINC menu item.  Press the Enter key to select the sinc function as an arbitrary waveform for output from the instrument.  Use the single trigger mode of the oscilloscope to display the waveform.

4.
Repeat Step 3 for the negative ramp, exponential rise, exponential fall, and cardiac waveforms.  Sketch the cardiac waveform.

Remote Operation:
5.
Click on the BenchLink Arb icon in the Windows Program Manager.

6.
You now have the opportunity to use the library waveforms shown as icons (i.e., sine, ramp, square, etc.) or to draw an arbitrary waveform either free-hand or using straight line segments (see the Waveforms menu for all of these options).

A. Draw a Freehand sketch waveform.  Click on I/O and Send Waveform.... To download the waveform to the instrument from the computer.

B. Repeat Step A this time using the Line draw mode.

C. Repeat Step A this time using at least two of the library waveforms as portions of   the same signal.

7.
Determine how to use BenchLink Scope to download a waveform to the computer and  BenchLink Arb to modify the waveform and download the waveform to the function generator.  Write the procedure down and demonstrate it to the instructor.

References:


Bell, D. A., 1994, Electronic Instrumentation and Measurements, 2nd Edition, chapter 11. Agilent 33120A Function Generator/Arbitrary Waveform Generator User’s Guide
� EMBED Word.Picture.8  ���








[image: image2.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








