[image: image9.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image1.wmf]​ 
Experiment No. 1.

Low-Pass Filters; Step Response vs. Q

By: 
Prof. Gabriel M. Rebeiz



The University of Michigan


EECS Dept.

Ann Arbor, Michigan
Purpose

To determine the frequency response of an active second order low-pass filter circuit for underdamped (Q > 0.5) and overdamped (Q < 0.5) cases, and to see the effect of Q in time domain using the step-response.

1.0
Low-Pass Filter Implementation: 

Equipment:     The whole Agilent rack.

A Sallen-Key non-inverting low-pass filter is shown below:

[image: image12.png]W

-V





The transfer function is given by:

( 1998 

Prof. Gabriel M. Rebeiz, 

The University of Michigan.

All Rights Reserved.

Reproduction restricted to classroom use, with proper acknowledgement. Not for commercial reproduction.




where 

 is the input voltage divider, and 

 is the non-inverting op-amp 
low-frequency gain when C1 and C2 are open-circuited.  The 1 µF capacitor at the input is a 

DC-block capacitor and will act as a short circuit for f > 100 Hz (EECS 210).

For C1 = C2 = C, we have:






and  


For the case of R4 = R3 and R11 = R12, we have 

 and:





In reality 0.95 < K < 1.5 due to resistance values inaccuracies (+5%).

Low-Q Active Filter:
1.
Assemble the circuit as shown above with:


R11 = R12 = 2.4 KΩ         and         R2 = 33 KΩ


C1 = C2 = C = 2.7 nF


This is the low-Q case with Q ~ 0.19, fo ~ 9.3 KHz. (Again, fo can change by +10% due to capacitor values inaccuracies of +10%).


As indicated by Problem 5 in the Pre-Lab, the transfer function has effectively 2-poles, one at f1  EQ \O(~,_)  Q fo, and one at f2  EQ \O(~,_)   fo/Q.



Draw the filter circuit in your notebook.

2.

Measure the op-amp DC voltages, V(-), V(+) and Vo and make sure that they are all in the mV levels.  Write them in your notebook.

Frequency Response: 

3.
Connect Vo to scope channel 1 and Vi to channel 2.


a.

Set the function generator to give a sinusoidal voltage of Vppk = 1 V and measure the frequency response (Vo/Vi) from 50 Hz to 200 KHz (amplitude only).  For the low-Q case, you should do it at 100, 200, 500, 1000 Hz, etc.  Above 20 KHz, the output voltage will be very low and you should increase the input voltage to 10 V ppk in order to measure accurately Vo.



b.
Measure the phase delay between the input and output waveform in the region around 8-10 KHz and determine exactly the frequency where it is -90˚. This is o (= 2  fo)!


c.
Measure Vo/Vi at this frequency (|H(o)|  = K Q  EQ \O(~,-)  Q for K  EQ \O(~,-)  1). This is your Q!


(Remember, that under the Measure [image: image2.wmf] menu, you will find a softkey at the bottom of the screen which measures the phase delay between Channel 1 and Channel 2.)

Step Response:

4.

Set the function generator to give a square wave voltage of f = 500 Hz and Vppk = 1 V.  Measure the risetime of the output waveform (10% - 90% of peak value).  Draw the waveform on your lab notebook.



(Remember that under the Measure [image: image3.wmf] menu, you can find a Risetime softkey at the bottom of the screen.)

5.

The risetime is dominated by the first pole at 

.  Therefore C1 has virtually no effect on this pole.  Remove C1 from the circuit and measure the risetime again.  What do you notice?

6.

Now, put C1 back into the circuit. Change the input square-wave frequency to 4 KHz and measure Voppk.  Plot Vi and Vo and label the ppk voltages.  Why does Vo look like a triangular wave?

 High-Q Active Filter:
1.
Change the values of R11 and R12, and R2 to be:


R11 = R12 = 120 KΩ          and           R2 = 1 KΩ


Keep C1 = C2 = C = 2.7 nF.


This is the high Q case with 

.  However, since C1 is not identical to C2 and also there are some parasitic capacitances in the circuit, you will find a Q between 3 and 12.  The resonant frequency is:




 but could change (+10%) due to capacitor values inaccuracies.


The low frequency gain, K, is still equal to 1 (0.95 < K < 1.05 due to resistance inaccuracies).



Draw the circuit in your lab notebook.

Frequency Response:

2.
a.

Set the function generator to a sinewave with Vippk = 1 V.  Measure the frequency response from 50 Hz to 200 KHz.




Be careful, the frequency response changes very quickly around fo!  First determine fo 

 by a quick frequency scan (using the knob), and then measure the frequency response taking several more points around fo.  (For example; the -3 dB, -6 dB, -10 dB points of H() max).


b.

Measure the phase of Vo/Vi around fo and determine the frequency where the phase delay is -90˚.  This frequency will be very close to where |H ()| is maximum and is the exact o.


c.

Measure Vo/Vi at this frequency.  (|H (o)| = K Q  EQ \O(~,-)  Q for K   EQ \O(~,-)  1). This is your Q!

3.
Set the function generator for a square wave of frequency fo (whatever you have measured, ~ 7.6 KHz)  and Vppk = 1 V.


a.

Measure the output voltage. Plot Vi and Vo and label the ppk voltages. What is the shape of the output voltage waveform?


b.

Measure Vi and Vo in frequency domain in dB (fo, 3fo, 5fo and 7fo ). Be careful, choose at least a 100 KHz frequency span so as not to get aliasing on the FFT.

Step Response:

4.

Set the function generator to a 200 Hz square wave with Vppk = 1 V.  Sketch the input and output voltage in your lab notebook for one period and label the output voltage when the ripple settles down, (Vf).


a.

For the positive portion of the waveform, measure the exact time of the first peak (t1) and its value (Vp).  (You can do this using the Measure [image: image4.wmf] menu.)  The overshoot value is (Vp - Vf).

[image: image5.wmf]

b.

From the waveform determine the ripple frequency, fR.  (Again, you can do this quickly under the Measure [image: image6.wmf] menu).


c.

If you have a Q lower than 4-5, measure the values and times of the second, third and fourth peaks.  You will need this to calculate Q in the post-lab report.  If you have a high-Q (Q > 4-5), then measure the third, fifth and seventh peaks (value & time).  This will result in a more accurate determination of Q.

Experiment No. 1.

Low-Pass Filters; Step Response vs. Q


Pre-Lab Assignment
1.
Using the Golden Rules (Ideal OP-Amp):  


(Ignore the 1 µF DC-block capacitor.  Assume it is a short-circuit at all frequencies.)


a.
In the low-pass filter, why is R1 = R11 || R12?  (Disconnect the circuit to the right of the arrow and determine the Thevenin's equivalent of the source circuit.)


b.
Draw the filter circuit at  << o (caps. are open-circuit) and determine 

.


c.
Draw the filter circuit at  >> o and determine 

.


d.
What is the input impedance of the circuit (seen by Vi) for  << o?

2.
a.
Check that the resistor/capacitor values given in the experiment result in the quoted fo, Q, K for the low-Q and high-Q cases.


b.
In the low-pass filter, the circuit will never work if R12 is not present (and Vs is a pure ac source).  Explain why (think of the non-ideal op-amp properties).

3.
The frequency response of a first order filter is given by:






The risetime of a function (tR) is defined as the time from 0.1 Vpk to 0.9 Vpk.  


The time response to a step function of amplitude 1 is given by:

[image: image9.png]


where 

time constant. 


a. Determine tR as a function of 

 (the 
time constant).

b. Express tR as a function of f1.

(This expression is very useful, since once you know the risetime in seconds, you can quickly determine the corner frequency in Hz (and vice versa).)

4. Calculate Vo/Vo(max) (for a constant Vi) when the filter response (transfer function) drops by: 3 dB (really –3 dB), 6 dB, 10 dB, 15 dB, 20 dB, 30 dB, 40 dB.

Graphically, this means





[image: image7.wmf]
5.
A low-pass filter transfer function is given by:





and
          
 EMBED "Equation" \* mergeformat  

         and    K  low frequency gain

a.
Derive |H()|.

b.
For K = 1 and using MATLAB, plot  on the same graph (dB, log f) the filter response for Q = 0.2, Q = 1 and Q = 10.  The horizontal scale should be from 0.01 fo (100 Hz) to 100 fo (1 MHz).  The vertical scale should be from +20 dB to -60 dB.  Reminder:  dB = 20 log |H()|.

c.
Derive the equation of the phase of H() and plot on the same graph the phase for Q = 0.2, Q = 1 and Q = 10 over the above mentioned frequency range.  What is the phase of H() as 0, ∞ and  = o.

d.
Prove that at 

 and the phase of H() is -90˚.

e.
For the special case of Q << 1 (Q = 0.2), the transfer function can be very well approximated by two poles at 1 = Qo and 2 = o/Q.  For Q << 1, 1 dominates the response.  For the case of Q = 0.2, plot






and compare it with the function of part (b) with Q = 0.2 (on the same graph).

f.
Prove mathematically that, for Q << 1, H1(s) is nearly equal to H(s).  You can do this by expanding the denominator of H1(s), determining which factor you must ignore so that H1(s) = H(s), and proving that for Q << 1, this factor is insignificant.

Experiment No. 1.

Low-Pass Filters; Step Response vs. Q

 Lab Report Assignment
1.
a.
Draw the filter circuit and neatly summarize all your measured data for the low-Q and high-Q cases (R values, V+, V-, Vo (DC), fo, Q, f1, tR, overshoot, t1, etc. ..., everything except the frequency response data).


b.
Using Matlab, plot the measured transfer function for the low-Q, high-Q filters on the same Bode-plot (f: 50 Hz–200 KHz, dB: +10 or +20 dB–depending on your measured high-Q- to -60 dB minimum). Label clearly the low frequency gain (K), the '"resonant" frequency (fo) and the Q of the filter for the low-Q and high-Q cases.

2.
Low-Q Filter:


a.
From the bode-plot, determine the low frequency pole, f1, (-3 dB pt).  Knowing o (or fo) from the phase measurement and that f1  EQ \O(~,-)  Qfo, determine Q.


b.
Using the risetime (tR) from the time domain measurements, determine f1 using the pre-lab problem #3.  Determine Q (knowing o).  Does it agree with part (a) above?


c.
Knowing the low frequency pole, f1, and for a square-wave of Vi = 1 Vppk and f = 4 KHz, calculate Voppk and compare with measurements of Section 6 of the low-Q design.

3.
High-Q Filter:


a.
From the time domain measurements, determine fo from the ripple frequency.  Compare with frequency domain data.


b.
From the time domain measurements, determine Q from the overshoot value.  Compare with frequency domain data.


c.
From the time domain measurements, determine Q from the ripple peaks.  In one case, use the first two measured peaks (and times), and in another case, use the first and last measured peaks (and times).  Compare both Q's with the frequency domain data.

4.
a.
For a square-wave of Vpk = 0.5V (Vppk = 1 V) and f = fo (~ 7.6 KHz–use your values), calculate the fundamental, third, fifth and seventh harmonic levels of the square-wave (in V and dB) before and after it passes by the high-Q low-pass filter.  Compare with frequency-domain measurements for Vi and Vo. (Use Fourier-Series to calculate the frequency components of the input square-wave).


b.
For Vo, what is the value (in V and dB) of the third and fifth harmonic level compared to the fundamental?  Is this a "clean" sinewave at fo? Calculate the THD (total harmonic distortion) of the output signal (THD is defined in your EECS 210 lab manual).

 Some Problems with the Active Sallen-Key Low-Pass Filter:
1.
Oscillations:


The denominator of the transfer function 

is:


 EMBED "Equation" \* mergeformat  


When 

, the denominator has the form:


 EMBED "Equation" \* mergeformat  


The solutions of this quadratic equation will always result in at least one positive pole, and therefore the system response will "blow" up.  Since this is an active circuit, the filter will oscillate and generate a somewhat sinusoidal voltage limited by +Vcc.  Therefore, always choose the components such that 

 and you are guaranteed a good second-order low-pass filter.  The above is especially true for high-Q filters where R1 >> R2.  In this case, oscillations will not occur when:

[image: image8.wmf]
Therefore, always maintain R4 < R3 for stable high-Q filters.

2.
Uncertainty in Q for high-Q designs:


The Q of a Sallen-Key non-inverting low-pass filter (with C1 = C2 = C) is given by:


 EMBED "Equation" \* mergeformat  




which simplifiers to 

 for R4 = R3.


However, in a high-Q design, R1 >> R2 and any slight non-equalities in R4 and R3 can change the value of Q by a large fraction.  Let us consider the example where R1 = 30 KΩ, R2 = 1 KΩ, and:

 

 

which simplifies to Q = 5.5 for R4 = R3 exactly.

However, for R4 = 1.02 R3, we have Q = 13.6, and for R4 = 0.98 R3, we have Q = 3.4.  Therefore, 3.4 < Q < 13.6, for a +2% change in the R4/R3 resistor ratio!

This holds true for C1 = C2 = C.  However, C1  EQ \O(/,=)  C2 due to capacitor inaccuracies and parasitic capacitances in the circuit.  Therefore, even if one maintains R4 = R3, Q can still vary between 3 and 14 due to capacitance variations alone.  Therefore, the Sallen-Key filter is simply not a good design for high-Q filters! 

In the above example, one could also ask what happens to Q when R4/R3 = 1.05 (with C1 = C2 = C).  In this case, Q < 0 and the circuit will oscillate (see above). Therefore, it is always good to maintain R4 < R3 and use + 1% resistors (instead of the standard +5% resistors) for R4 and R3 in Sallen-Key high-Q filters.

For the above reasons, a sensitivity analysis is always done in commercial engineering applications. The sensitivity analysis tells the engineer how much variation in output specifications to expect for a small change in component value.  This is especially important in high-volume manufacturing, where a parts vendor could supply you with a whole run of components, all at the upper end of their tolerance limit."

[image: image10.wmf]Equations you may need for the lab report: 

1) The Fourier-Series of a square-wave signal is  
given by  

 where V 
is the peak voltage (and not peak-to-peak).           

2) Total Harmonic Distortion, THD, is defined as:




where



 EMBED "Equation" \* mergeformat  


� EMBED Word.Picture.8  ���








[image: image11.png]





_968672155

_968672160

_968672163

_968672164

_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








_968672162

_968672158

_968672159

_968672156

_968672145

_968672150

_968672153

_968672154

_968672152

_968672148

_968672149

_968672146

_968672135

_968672140

_968672143

_968672144

_968672141

_968672137

_968672139

_968672136

_968672129

_968672132

_968672133

_968672131

_968672127

_968672128

_968672126

_968672124

