[image: image1.png]Agilent EducatorsCorner.com Experiments
e ———————————————— —





[image: image1.png]​

Function Generator Tutorial: Agilent 33120A

By:  Dr. A. D. Johnson


 EECS: 1100 Digital Logic Design


 The University of Toledo


Introduction
The Agilent 33120A function generator is a signal source which provides precision sine, square, or triangular waveform signals over the 0.1 mHz to 15 MHz frequency range. The instrument also provides a continuously variable dc offset, variable duty cycle, and the clock signal voltage levels adjusted to TTL Integrated Circuit components.

Definition of Terms
Period of a periodic signal x(t) is the smallest time interval T for which x(t+T)=x(t) holds for any time t. A fundamental segment of a periodic signal’s waveform spans one period of the signal’s waveform.

Frequency of a periodic signal is the number of periods (cycles) through which the signal goes per second. The frequency is the inverse measure of the period.

Duty Cycle of a square waveform signal is the ratio of the the high signal value to the low signal value time intervals within a signal’s period.

DC Offset of a periodic voltage/current signal is the quantity representing the average signal value calculated over one period of the signal (constant voltage/current component of a voltage/current waveform).

Signal Frequency and Waveform Selection
Turn the function generator on by engaging the POWER button.

Select the desired signal waveform (SINE, SQUARE, or TRIANGLE) by engaging one of the FUNCTION buttons.

Select the signal frequency by pressing the FREQ button then using the right and left arrow keys and turning the knob.

The signal of desired frequency appears at the OUTPUT jack.

Signal Level Selection
The Agilent 33120A provides fixed voltage signals (on the SYNC port), and adjustable voltage signals (on the OUTPUT port). The fixed voltage signals are specifically adjusted to the needs of the TTL Integrated Circuits (IC). In all Lab exercises, except for the first part of Lab Assignment#1, the fixed TTL voltage level (SYNC port) must be used to protect the ICs from damage.

For the first part of the Lab Assignment#1 only, adjust the amplitude of the output as desired using the AMPLITUDE control. A signal of desired amplitude and frequency appears at the OUTPUT jack. The maximum signal level is 10 V p-p (into 50 Ohm).

A superimposed DC component can be added to the output signal by pressing the OFFSET button. This enables the DC OFFSET control, which is used to regulate the amount of DC offset added to the signal.

TTL Square Wave Generation
The SYNC output jack provides a fast rise time square wave output with fixed TTL output level. The TTL-level square wave will be the most often used function during our lab experiments. It will serve as an external clock signal for synchronizing the logic/digital circuit operation. The following procedure should be carefully followed in order to avoid damage to IC components:

- 
connect the output cable to the SYNC jack.

- 
turn on the POWER switch.

- 
select the desired FREQUENCY as required. Note that OUTPUT LEVEL and DC OFFSET controls have no effect on the SYNC port.

The desired clock signal appears at the SYNC port.


NOTE: In order to avoid damage to Integrated Circuit components, use always TTL LEVEL for clock signal (square wave) generation, and never use the OUTPUT port!!

� EMBED Word.Picture.8  ���











[image: image2.wmf]


_1030875879.doc
[image: image1.png]Agilent Technologies
EducatorsCorner.com Experiments








