[image: image18.png]Agilent Educator’s Corner Experiments
L]





Lab Assignment #3
[image: image18.png]Sampling Theorem

By: Prof. Dr. rer. nat. habil. Albrecht Rost
University of Applied Sciences Merseburg

Department 1: Computer Science and Applied Natural Sciences

Physics, Laboratory of Measurement Technology

e-mail: albrecht.rost@in.fh-merseburg.de


· Objective
To study the sampling theorem using Agilent VEE.

· Equipment
· Agilent VEE software 

A. Theoretical Introduction
A typical time-dependent signal, for example AC voltage, is continuous with respect to magnitude and time. Such signals are called analog signals. Using a normal (analog) oscilloscope we get an analog representation of such a signal.

Today mainly digital equipment is used for electrical measurements. The original analog signal is converted to a digital signal. A digital signal is discrete with respect to the magnitude as well as to the time. Therefore, conversion of an analog to a digital signal means the value of the analog signal function F(t) is measured at discrete times 
[image: image1.wmf]  during a time interval 
[image: image2.wmf], and the indicated values changes with steps 
[image: image3.wmf]. Mostly the measured value is represented by a binary number and the step 
[image: image4.wmf] depends on its number of positions, that means of the number of bits processed by the analog-to-digital converter (ADC).

The correct use of this measurement technology requires one to know how often the value of a signal must be measured during a given time interval 
[image: image5.wmf] in order to reconstruct its shape correctly. The answer is given by the sampling theorem of time functions (Nyquist Criterion):

If the given time function F(t) has a limited bandwidth B and the time interval of measurement 
[image: image6.wmf] is infinite, a correct interpolation between the sampling points is possible when the function is sampled with a time step,



 ,

i.e. with a sampling rate



.

Assuming a simple harmonic function this theorem says that it is necessary to sample the function more than two times per period. An important example is the digital processing of audio signals. Assuming a bandwidth of 
[image: image7.wmf] for such signals a sampling rate 
[image: image8.wmf]must be used (usually: 
[image: image9.wmf]).

But in many cases a function is sampled only during a short time interval 
[image: image10.wmf]and only a very simple interpolation algorithm is used. Therefore, in most cases the time step between two measured points must be shorter:


[image: image11.wmf] ,

i.e. an oversampling is necessary: The sampling rate must be 10 ... 20 times higher than the value given by the Nyquist Criterion (see Fig.1).

[image: image12.png]



Fig.1: 
Sampled sine function (10 times oversampled and linear interpolated)
B.  Simulation Experiments

The sampling theorem is a fundamental law for all digital equipment, and grave errors result from a disregard of this law. The following simulation programs illustrate different errors which can appear using this measurement method. To run this programs you need the run-time version of Agilent VEE (Version 5 or above).

1.  Program sampling1.vxe
A simple harmonic signal is sampled twice using different sampling rates (
[image: image13.wmf]) and displayed using a linear interpolation.

Change the number N of sampling points and look to the shape of the both polylines!

The sampling rate 
[image: image14.wmf] disregards the sampling theorem, if N<7, and an aliasing error is generated. It is impossible to reconstruct shape and period of the original function. Also you can see that the higher the oversampling, the better the reconstruction.

2.  Program sampling2.vxe
This program compares two different displays of a sampled function: the sampled points (upper display) and a polyline using a linear interpolation between all points. In all cases the sampling theorem is fulfilled.

Change the signal frequency and compare the different displays!

At low frequencies the eyes interpolate correctly between the points in the upper display and we find no difference between the shapes. But, if the frequency will be higher and higher (especially for 
[image: image15.wmf]), the interpolation made by the eyes will not be correct and a so-called perceptory aliasing appears: The eyes interpolate linearly between the nearest-neighbor points.

3.  Program sampling3.vxe
This program demonstrates the results using different interpolation algorithms for the reconstruction of the shape of a function from a set of sampling points.

In the first case a unknown function is oversampled with a factor of two. All sampling points can be described correctly by using a linear interpolation, which results a triangular function shape, as well as by using a sine-wave or a square-wave interpolation. Knowing only the sampling points, it is impossible to decide which shape gives the best approximation to the original function. This decision is possible only by using a higher sampling rate.

Oversample using a factor of four and find out the correct interpolation! 

For understanding this phenomenon remember that if the original function has a triangular or square-wave shape, it contains higher harmonics. If the function is two times oversampled, the sampling theorem is fulfilled only for the first harmonic 
[image: image16.wmf], but not for the second, because in both cases the frequency of the second harmonic is 
[image: image17.wmf]. Using 4-fold oversampling the sampling theorem is fulfilled also for the second harmonic, and we can decide which interpolation is correct.
�


































































































[image: image19.png]Agilent Technologies
Educator’s Corner Experiments







_1022935765.unknown

_1022938318.unknown

_1022939384.unknown

_1022939746.unknown

_1022998935.unknown

_1022999151.unknown

_1022999296.unknown

_1023000043.unknown

_1023000050.unknown

_1023000058.unknown

_1022999799.unknown

_1022999805.unknown

_1022999332.unknown

_1022999234.unknown

_1022999243.unknown

_1022999223.unknown

_1022998973.unknown

_1022999063.unknown

_1022998963.unknown

_1022939769.unknown

_1022939781.unknown

_1022998919.unknown

_1022939775.unknown

_1022939758.unknown

_1022939763.unknown

_1022939752.unknown

_1022939551.unknown

_1022939696.unknown

_1022939735.unknown

_1022939740.unknown

_1022939728.unknown

_1022939685.unknown

_1022939691.unknown

_1022939678.unknown

_1022939523.unknown

_1022939535.unknown

_1022939540.unknown

_1022939529.unknown

_1022939421.unknown

_1022939516.unknown

_1022939390.unknown

_1022938891.unknown

_1022939362.unknown

_1022939374.unknown

_1022939380.unknown

_1022939368.unknown

_1022939345.unknown

_1022939355.unknown

_1022938897.unknown

_1022938392.unknown

_1022938863.unknown

_1022938885.unknown

_1022938873.unknown

_1022938846.unknown

_1022938377.unknown

_1022938386.unknown

_1022938324.unknown

_1022937386.unknown

_1022937715.unknown

_1022938276.unknown

_1022938300.unknown

_1022938308.unknown

_1022938285.unknown

_1022938124.unknown

_1022938259.unknown

_1022937723.unknown

_1022937495.unknown

_1022937509.unknown

_1022937540.unknown

_1022937502.unknown

_1022937462.unknown

_1022937469.unknown

_1022937401.unknown

_1022936283.unknown

_1022936519.unknown

_1022936661.unknown

_1022936669.unknown

_1022937374.unknown

_1022936596.unknown

_1022936460.unknown

_1022936500.unknown

_1022936503.unknown

_1022936488.unknown

_1022936312.unknown

_1022936440.unknown

_1022936452.unknown

_1022936293.unknown

_1022936208.unknown

_1022936261.unknown

_1022936272.unknown

_1022936224.unknown

_1022936034.unknown

_1022936043.unknown

_1022935773.unknown

_1022935962.unknown

_1022934606.unknown

_1022935414.unknown

_1022935518.unknown

_1022935583.unknown

_1022935730.unknown

_1022935573.unknown

_1022935478.unknown

_1022935500.unknown

_1022935468.unknown

_1022935078.unknown

_1022935336.unknown

_1022935348.unknown

_1022935288.unknown

_1022935052.unknown

_1022935061.unknown

_1022934647.unknown

_1022935028.unknown

_1022933876.unknown

_1022933982.unknown

_1022934152.unknown

_1022934553.unknown

_1022934009.unknown

_1022933937.unknown

_1022933950.unknown

_1022933897.unknown

_1013520645

_1022933684.unknown

_1022933828.unknown

_1022933838.unknown

_1022933693.unknown

_1022933605.unknown

_1022933673.unknown

_1022933662.unknown

_1017221267.unknown

_1022913820.doc
[image: image1.png]Agilent Educator’s Corner Experiments
L]







_1017222219.unknown

_1013520647

_1013430264.unknown

_1013517195.unknown

_1013520631

_1013520626

_1013516562.unknown

_1013429201.unknown

_1013429204.unknown

_1013429197.unknown

_1013427385

